Chemistry 4130C

Instrumental Methods of Analysis

Fall, 2010

Problems (After Midterm #2)

1.	The relative abundances of 35Cl and 37Cl are 0.755 and 0.245.  Determine the relative abundances of all isotopic species in molecular ions of chloroform, CHCl3+.  (Assume that all carbons are 12C and that all hydrogens are 1H.)

2.	Determine the mass resolving power, m1/(m2 – m1) required to distinguish between:

(a)  N2+, CO+, and C2H4+ (all at nominal mass 28);

(b)  14N and 12CH2 at m/z = 14 in a molecule of m/z = 290.

3.	In a time-of-flight mass spectrometer with 1.0 meter flight path, an 15N+ ion travels the distance in 6.1 microsec.

(a) Calculate the accelerating voltage necessary to produce this speed.

(b) Compute the time it would take for a 14N+ ion to travel the same distance.

4.	Suppose that 14N+ and 15N+ ions are accelerated to 2000 eV.  Calculate the radius of the orbit for each ion in a magnetic field of 0.1 tesla.  Now calculate the radius for m/z = 200 ions at room temperature in a 3 tesla magnet.  Finally, calculate the energy and translational temperature of m/z = 200 ions at 3 tesla at an orbital radius of 1 cm.  [The first calculation relates to a magnetic sector instrument; the second to a thermal ion in a cyclotron, and the third to an ion "activated" for MS/MS experiments in a cyclotron.]

5.	Calculate the ion cyclotron resonance (ICR) frequency (in Hz) for singly charged 3He+, 14N2+, 12C16O+, and the molecular cations of cholesterol (MW ≈ 387 Da) and insulin (MS ≈ 5,800 Da) at a magnetic field strength of 3 tesla.

6.  At an NMR spectrometer frequency of 100 MHz, the proton magnetic resonance of chloroform, CHCl3, was measured as 730 Hz downfield from tetramethylsilane (TMS).

(a) What is the chemical shift (in ppm) of chloroform relative to TMS?

(b) What would be the separation in Hz between the two resonances for a spectrometer operating at 500 MHz?

7.  If the Larmor frequency of carbon-13 is approximately 75 MHz at B0 = 7 tesla, then compute the r.f. magnetic field amplitude (B1, in tesla) required to produce a 90°-pulse for carbon-13 in 20 µs.